Open Questions: SDRF / Sample-Metadata Support in mzPeak

Oliver Kohlbacher (OK), Joshua Klein (JK), Tim Van Den Bossche (TVDB)

draft 2026-06-08 — for discussion

# Background

mzPeak is the proposed successor to mzML — compact, performant, cloud-native (Parquet-in-ZIP). Its current specification models spectra, chromatograms, and wavelength spectra plus a file-level sample_list (the mzML sample analog: id, name, parameters), but it has no model for the sample↔data-file relationship that SDRF captures, and no representation of isobaric (TMT/iTRAQ) channel assignment. This document collects the open questions that must be resolved before SDRF-grade sample metadata can live in mzPeak without loss.

Status. mzPeak’s design notes (HUPO-PSI session, 2026-05-07, §5.7) flag SDRF integration as an open design question: “SDRF details known at acquisition time could be stored inside the mzPeak archive, either as a TSV file or via the sample-list metadata inherited from mzML. This remains an open design question.” The canonical spec now lives in HUPO-PSI/mzPeak-specification (nominal v0.9). PSI spring-2026 feedback additionally asks for region-of-interest polygons / spatial queries, which intersect the sample model (deferred).

Companion. A draft mapping (SDRF ↔ mzPeak) has been prepared and is implementable for the common case (RAG-verified against the spec, adversarially reviewed to convergence). The questions below are where the draft makes an assumption needing committee ratification, or hits a genuine gap in the base mzPeak schema. The core mismatch: SDRF is study-scoped, keyed by (sample × data-file) rows, whereas mzPeak is file/spectrum-scoped — so each SDRF column must be decomposed to its natural scope, with stable join keys to rebuild the table.

# Open questions for SDRF in mzPeak

The numbering is for reference only; it does not imply priority.

## Q1 — Authority: canonical SDRF vs in-file copy

- Issue: A repository SDRF (*.sdrf.tsv, e.g. in PRIDE) carries the authoritative study design. Should an mzPeak file contain SDRF, and if so, is the in-file copy authoritative?

- Draft position: The canonical *.sdrf.tsv stays the lossless source; mzPeak embeds the file’s own SDRF row(s) verbatim plus a dataset back-reference (accession + SDRF URI); all structured fields (Q3–Q8) are projections for query, not authoritative.

- Decision needed: Ratify “embed verbatim rows + projections + back-ref”, and a precedence rule (repo SDRF wins on conflict)? (vs the §5.7 still-undecided “TSV member or mzML sample-list”.)

- Suggestion: Embed the relevant SDRF rows verbatim as a typed archive member; record dataset_accession + sdrf_uri; repo SDRF authoritative, in-file a denormalized convenience copy that MUST agree when present.

- Discussion:

## Q2 — First-class entity_type for sample metadata (vs Other)

- Issue: Today an embedded SDRF TSV can only be registered in mzpeak_index.json as entity_type: "other", with no controlled discovery term — mirroring the imaging “image entity” gap.

- Draft position: Promote it: define entity_type: "sample-metadata" with data_kind: "sdrf" (and a defined descriptor), so the SDRF member is discoverable by controlled term rather than by filename.

- Decision needed: Add sample-metadata / sdrf to the open entity_type / data_kind enumerations (plus a schema/ contract)?

- Suggestion: Add the typed member; backward-compatible (an unknown entity_type already degrades to other, so old readers still fetch the bytes).

- Discussion:

## Q3 — Sample model: sample_list reuse + run→sample binding

- Issue: sample_list exists (id / name / parameters), but the ms_run schema has no sample reference, and there is no per-spectrum sample link — so a file cannot say which sample(s) it measures.

- Draft position: Carry SDRF characteristics[…] as sample_list parameters, keyed by SDRF source name; add a run→sample binding and a per-spectrum assay_ref.

- Decision needed: Add the run→sample reference + per-spectrum assay_ref to the base schema?

- Suggestion: sample_list entries keyed by source name; assay_ref (per-spectrum) covers the 1:1 and fractionation (1 sample : N files) cases.

- Discussion:

## Q4 — Isobaric channels (TMT/iTRAQ): a channel_list

- Issue: The central gap. SDRF expresses multiplexing as N rows sharing one assay name, differing in comment[label] (e.g. TMT126). mzPeak has no label / channel / reporter / role construct — a single per-spectrum sample reference cannot model N reporter-channel samples in one MS2.

- Draft position: Add a file-level channel_list: each channel = {label, reporter_mz, tag_modification, sample_refs[], role, sdrf_row_ref}; bind the run via ms_run.channel_set + plex_id.

- Decision needed: Ratify a channel_list (and its schema) as the home for isobaric channel→sample assignment?

- Suggestion: One entry per isobaric channel — id, label (PRIDE), reporter_mz (reagent table), tag_modification (Unimod), sample_refs[] (1 normally; pooled via pool_member_refs), role (experimental | reference | carrier | norm | empty), sdrf_row_ref (= source name :: assay name :: comment[label]). Non-isobaric labels (label-free, SILAC = MS1) get no channel_list.

- Discussion:

## Q5 — Cardinality & row identity (pooled / carrier / fraction × plex)

- Issue: A file can be N:1 (multiplex) and 1:N (fractionation) at once; SDRF also encodes pooled reference channels (characteristics[pooled sample] = SN=…;SN=…) and single-cell carrier / reference channels.

- Draft position: Use SDRF’s own uniqueness key as the in-file row identity: source name + assay name + comment[label]; a file holds all rows of its assay name(s).

- Decision needed: Adopt that compound key; represent pooled channels via sample_refs + pool_member_refs (not by collapsing the pool); derive role from characteristics[sample type] / comment[carrier channel] / comment[reference channel]?

- Suggestion: As drafted — fraction × multiplex falls out of the compound key; plex_id groups a plex’s fraction files.

- Discussion:

## Q6 — comment[…] scope decomposition

- Issue: SDRF comment[…] columns span file, assay, channel, sample-prep, technical-replicate, and SDRF-file scopes — not all run-level.

- Draft position: Place each comment[…] at its true scope (run/assay vs per-spectrum vs channel), and preserve repeated/unknown columns verbatim on the embedded SDRF row.

- Decision needed: Ratify a scope map for the standard comment[…] columns; confirm repeated/unknown columns are retained on the embedded copy?

- Suggestion: Map the known set (instrument → instrument_configuration; data file → source_files; label → channel; fraction/replicate → assay); leave the rest verbatim on the embedded row.

- Discussion:

## Q7 — factor value[…] / study design

- Issue: Factor values + the cross-file design describe the whole study, which a single file cannot know.

- Draft position: Keep the full design in the repository SDRF; each mzPeak embeds only its own factor-value levels + the back-ref. Not authoritative in-file.

- Decision needed: Confirm the per-file factor-level slice + back-ref model (study design is not reconstructable from one file)?

- Suggestion: A factor_values block holding this file’s levels; the full matrix lives in the repo SDRF.

- Discussion:

## Q8 — Reporter-ion quantification binding

- Issue: If reporter-ion intensities are extracted, how are they tied to channels (→ samples)?

- Draft position: A per-MS2 auxiliary array whose columns carry channel_id in auxiliary_array.parameters, making peak → channel → sample resolvable; reporter_mz comes from a reagent lookup (TMT/TMTpro/iTRAQ), validated against the full label set / vendor method, with the source recorded.

- Decision needed: Ratify the auxiliary_array.parameters → channel_id binding (vs a dedicated quant facet)? Is reporter extraction in scope for the converter, or read-only passthrough?

- Suggestion: Optional reporter-quant aux array, channel-keyed; off by default.

- Discussion:

## Q9 — CV coverage, ontologies & vendor pass-through

- Issue: SDRF leans on EFO; many characteristics have no PSI-MS accession, and acquisition software rarely records SDRF fields natively.

- Draft position: Map a characteristic / comment to a cvParam when an accession exists (EFO / PSI-MS / NCBITaxon / Unimod / Cellosaurus), else a userParam whose name is the exact SDRF column (reversible). Proposed: acquisition writes SDRF:<column>=<value> into the vendor sample table → the converter lifts it to <sample> params (study SDRF wins on conflict).

- Decision needed: Ratify the cvParam/userParam mapping + the column-name-as-key convention; is the vendor pass-through in scope (and how validated)?

- Suggestion: As drafted; validate emitted SDRF with sdrf-pipelines.

- Discussion:

## Q10 — Round-trip & validation

- Issue: “Reconstruct the SDRF from mzPeak” must be lossless.

- Draft position: Round-trip = re-serve the embedded SDRF rows verbatim; sample_list / channel_list are indexes into those rows, not a regeneration source (they cannot reproduce repeated columns, lexical cell forms, assay name, URIs, factor values).

- Decision needed: Ratify “embedded rows are the round-trip source; projections are query-only”; validate with sdrf-pipelines?

- Suggestion: As drafted.

- Discussion:

# Additional CV / vocabulary terms needed

SDRF is governed by HUPO-PSI (bigbio/proteomics-sample-metadata, v1.1.0) and leans on EFO; mzPeak structural terms are governed in PSI-MS. Reuse SDRF/EFO/Unimod terms for values; mint the small set of mzPeak structural terms in PSI-MS. Accessions are placeholders for CV maintainers.

## A. Reuse / confirm existing

| Term | CV | Use |
| --- | --- | --- |
| comment[label] values (TMT126…, iTRAQ…) | PRIDE | channel label (Q4/Q5) |
| TMT6plex / TMTpro / iTRAQ tags (e.g. UNIMOD:737) | Unimod | tag_modification (Q4) |
| reporter ion m/z (per reagent) | reagent table | reporter_mz (Q4/Q8) |
| characteristics[*], factor value[*] | EFO / NCBITaxon / Cellosaurus | sample metadata (Q3/Q7) |
| isolation / reporter-ion terms | MS | reporter quant semantics (Q8) — confirm |

## B. New structural terms to mint (proposed)

| Proposed term | Prop. CV | Used by |
| --- | --- | --- |
| sample-metadata entity / sdrf data-kind | MS | Q2 |
| isobaric channel (entity) | MS | Q4 |
| channel role + experimental/reference/carrier/normalization/empty | MS | Q4/Q5 |
| reporter ion m/z (attribute) | MS | Q4/Q8 |
| assay reference / sample reference | MS | Q3 |
| SDRF row reference (source name :: assay name :: comment[label]) | MS | Q1/Q4/Q10 |

## C. Governance questions

- SDRF terms are HUPO-PSI/bigbio-governed and EFO-backed; mint the mzPeak structural terms above in PSI-MS for resolvability.

- Are role / channel-role values CV terms (recommended) or interim string tokens during transition?

- Confirm reporter-ion / isolation CV terms for Q8.

# Deferred scope (flagged not v1)

- MSI region-of-interest → sample. SDRF has no spatial vocabulary (its spatial terms are single-cell-oriented). PSI spring-2026 feedback asks for ROI polygons + spatial queries — this links the sample model to the imaging extension (see the companion Open Questions: Imaging Support in mzPeak); a future entity_type: "region of interest" would carry roi → sample assignment.

- Diagnostic traces / mobilograms as entity types (PSI spring-2026) — out of scope here.

- Full multi-omics / non-proteomics SDRF templates (metabolomics, affinity) — base proteomics model first.

# References

- SDRF-Proteomics specification (v1.1.0), HUPO-PSI / bigbio: proteomics-sample-metadata.

- Dai et al. 2021, A proteomics sample metadata representation for multiomics integration and big data analysis, Nat Commun. doi:10.1038/s41467-021-26111-3

- Claeys et al. 2023, lesSDRF is more, Nat Commun. doi:10.1038/s41467-023-42543-5

- sdrf-pipelines (validator/converter): bigbio/sdrf-pipelines.

- mzPeak specification (WIP): HUPO-PSI/mzPeak-specification.

- mzPeak ↔ SDRF integration design (this project): docs/sdrf-mzpeak-integration.md; mzPeak §5.7 design notes (2026-05-07).